## EPD
ANALYTICAL METHOD REQUIREMENTS
ENVIRONMENTAL PROGRAMS DIVISION (EPD)
The undersigned Proposer offers to perform the work described in the Request for Proposal (RFP) for the following price(s). The Proposer's rate(s) (hourly, monthly, etc.) shall include all administrative costs, labor, supervision, overtime, materials, transportation , taxes, equipment, sample containers, supplies, and laboratory consultation unless stated otherwise in the RFP. It is understood and agreed that quantities may vary for any project and the unit prices quoted in the Schedule of Prices will apply to the actual quantities, whatever they may be. Although not anticipated, the County may request analysis for test methods or additional laboratory services not listed below. Any test not listed on this Schedule of Prices will be paid at the Proposer's current published prices which include all costs for the testing as described above.
The following table provides an estimate of EPD's annual testing requirements. Required analyses shall be performed by laboratories certified by the State Water Resources Control Board to perform such analyses pursuant to Article 3, commencing with section 100825, of Chapter 4 of Part 1 of Division 101, Health and Safety Code. Unless directed otherwise by the State Board, analyses shall be made in accordance with U.S. EPA approved methods as prescribed at 40 Code of Federal Regulations parts 141.21 through 141.42, 141.66, and 141.89. EPD is responsible for testing the quality of industrial wastewaters discharged to the public sewer and/or stormwater collection system or groundwater that may have been contaminated by leaks of hazardous materials or illegal disposal. The testing of soil samples that may have been similarly contaminated is also included. Proposer shall be able to perform the required Field of Testing (FOT) for each constituent listed and shall check the boxes under the column titled FOT (Field of Testing) indicating they are ELAP certified to analyze that specific constituent or that their subcontractor is. Additionally, the Proposer shall indicate their Approved Method of analysis for each constituent under the column titled Approved Method. Proposer shall indicate the lowest detection limit the laboratory is able to achieve for their Approved Method under the column titled Detection Limit. All analyses listed shall be performed within the allowable holding time from the time of collection as specified in the methodology promulgated by the U.S. EPA. Unless prior arrangements are made with the Program Manager, the Proposer shall deliver paperless reports with analytical results of the required analyses to the County on a routine basis within the Required Turnaround Time (TAT) of ten (10) calendar days after the date of delivery of the samples to the Proposer or specified point of transfer. Required turnaround times (TAT) are listed in calendar days (i.e., 7-calendar days per week). If the Proposer, in the County's opinion, fails to maintain a timely schedule, the Proposer's bill for such samples will be discounted by fifteen (15) percent for each week or portion thereof that exceeds the ten (10) day calendar period. If the Proposer, after taking custody of samples, fails to handle, store, or perform analysis of the sample in accordance with the required protocol and time limits to the extent that the results are not legally valid, the County shall not be required to pay the Proposer for said work. If the Proposer is unable to meet the required TAT of Ten (10) calendar days they are to indicate their proposed TAT under the column titled Proposed TAT. All samples are to be treated as legal evidence and shall be preserved and stored in a secured refrigerated storage facility for one hundred eighty (180) days at no charge to the County, beginning with the date of the final report, unless otherwise notified or until custody is returned to the County or the County authorizes destruction.
Detection Limits
The limits of detections shall be below the maximum detection limits listed for each analysis listed below.
CONSTITUENT |  | MAXIMUM (mg/L) |  | CONSTITUENT |  | MAXIMUM (mg/L)
Arsenic |  | 0.05 |  | Silver |  | 0.08
Beryllium |  | 0.005 |  | Zinc |  | 0.5
Boron |  | 1.5 |  | Acetone |  | 8.2
Cadmium (Total) |  | 0.02 |  | Chloride |  | 175
Chromium (Total) |  | 0.07 |  | Dissolved Sulfides |  | 0.1
Copper |  | 0.3 |  | Ethyl acetate |  | 8.2
Cyanide (Total) |  | 0.02 |  | Isopropyl acetate |  | 8.2
Cyanide (Amenable) |  | 0.29 |  | Methylene chloride |  | 0.7
Fluoride |  | 1.2 |  | n-Amyl acetate |  | 8.2
Lead |  | 0.2 |  | Sulfate |  | 325
Mercury |  | 0.002 |  | Oil & Grease |  | 100
Nickel |  | 0.5 |  | Total Dissolved Solids (TDS) |  | 1000
Selenium |  | 0.02
LINE NO. | CONSTITUENTS | FOT | EPD PREFERRED METHOD | APPROVED METHOD | DETECTION LIMIT | PROPOSED TAT | ESTIMATED QUANTITY | UNIT COST ($) | TOTAL COST ($)
1 | Nitrogen Ammonia | [5 empty] | 10 |  | 0
2 | BOD | [5 empty] | 20 |  | 0
3 | COD | [5 empty] | 20 |  | 0
4 | Chloride | [5 empty] | 10 |  | 0
5 | Dissolved Sulfides | [5 empty] | 50 |  | 0
6 | Fish Toxicity (hazardous waste determination) |  | LC50 |  |  |  | 5 |  | 0
7 | MBAS (Surfactants) | [5 empty] | 10 |  | 0
8 | Oil and Grease | [5 empty] | 80 |  | 0
9 | Phenols (water) |  | 420.1 |  |  |  | 10 |  | 0
10 | pH | [5 empty] | 10 |  | 0
11 | Settleable Solids | [5 empty] | 10 |  | 0
12 | Total Dissolved Solids | [5 empty] | 10 |  | 0
13 | Total Suspended Solids | [5 empty] | 10 |  | 0
14 | Bacteria (Coliform, Fecal and Total) | [5 empty] | 20 |  | 0
15 | Alkalinity Speciated |  | EPA 310.1 |  |  |  | 20 |  | 0
16 | Turbidity | [5 empty] | 20 |  | 0
17 | Total Milk Allergen |  | Neogen Veratox Test |  |  |  | 10 |  | 0
18 | Bulk Asbestos ID by PLM (solids) | [5 empty] | 5 |  | 0
19 | Asbestos ID by TEM (liquid) | [5 empty] | 5 |  | 0
20 | Sugar Profile-fructose, lactose, sucrose |  | AOAC 982.14 Sugar Profile 977.20 Modified |  |  |  | 10 |  | 0
21 | Phosphate, Ortho | [5 empty] | 5 |  | 0
22 | Phosphate, Total | [5 empty] | 5 |  | 0
23 | Anion by IC (water includes Chloride, Fluoride & Sulfate) | [5 empty] | 20 |  | 0
24 | Metals-Group 5 or more |  | 200.7 |  |  |  | 100 |  | 0
25 | Arsenic | [5 empty] | 100 |  | 0
26 | Cadmium | [5 empty] | 100 |  | 0
27 | Chromium (Total) | [5 empty] | 100 |  | 0
28 | Copper | [5 empty] | 100 |  | 0
29 | Fluoride |  | 4500 F-C |  |  |  | 10 |  | 0
30 | Lead | [5 empty] | 100 |  | 0
31 | Mercury |  | 245.1 |  |  |  | 10 |  | 0
32 | Nickel | [5 empty] | 100 |  | 0
33 | Selenium | [5 empty] | 10 |  | 0
34 | Silver | [5 empty] | 100 |  | 0
35 | Zinc | [5 empty] | 100 |  | 0
36 | TTLC digestion for individual Metals (1 per sample & Mercury) | [5 empty] | 100 |  | 0
37 | Priority Pollutant Metals include digestion and Mercury | [5 empty] | 10 |  | 0
38 | California Waste Extraction Test (WET) + 17 Metals | [5 empty] | 10 |  | 0
39 | CCR – Total Concentration (Digestion + 17 - Metals CAM 17) |  | 6010B/7471A |  |  |  | 10 |  | 0
40 | Toxicity Characteristic Leaching Procedure (TCLP): TCLP Extraction + Metals (Inorganic) | [5 empty] | 10 |  | 0
41 | TCLP Zero Head Space Extraction + Vol. Organics | [5 empty] | 10 |  | 0
42 | TCLP Extraction + Semi Vol. Organics |  | EPA 8270 |  |  |  | 10 |  | 0
43 | Emission Spectrographic Analysis |  | EPA 6010B; 7471A;7470A |  |  |  | 10 |  | 0
44 | Cyanide (Total) | [5 empty] | 80 |  | 0
45 | Cyanide (Amenable) | [5 empty] | 80 |  | 0
46 | EPA Method No. 608 Water | [5 empty] | 10 |  | 0
47 | EPA Method No.8081/8082 Soil (5) | [5 empty] | 50 |  | 0
48 | EPA Method No. 624 Water | [5 empty] | 50 |  | 0
49 | EPA Method No. 8260B Soil (5) | [5 empty] | 50 |  | 0
50 | EPA Method No. 625 Water | [7 empty] | 0
51 | EPA Method No. 624/8260B + TIC Water | [5 empty] | 25 |  | 0
52 | EPA Method No. 8260B + TIC Soil (5) | [5 empty] | 25 |  | 0
53 | EPA method No. 1664 SGT/HEM Water | [5 empty] | 20 |  | 0
54 | EPA method No. 1664 SGT/HEM Soil (5) | [5 empty] | 20 |  | 0
55 | EPA Method No. 8260B Water (BTEX+MTBE) (3) | [5 empty] | 25 |  | 0
56 | EPA Method No. 8260B Soil (BTEX+MTBE) (3)(5) | [5 empty] | 25 |  | 0
57 | EPA Method No. 8081A | [5 empty] | 10 |  | 0
58 | EPA Method No. 8082 | [5 empty] | 10 |  | 0
59 | EPA Method No. 8260B/Soil (5) | [5 empty] | 20 |  | 0
60 | EPA Method No. 8270C/Soil (5) | [5 empty] | 20 |  | 0
61 | Organic Lead (Appendix 11, Title 22) | [5 empty] | 20 |  | 0
62 | PMCC Ignitability Test Pensky-Martens Close Cup |  | EPA 1010 |  |  |  | 10 |  | 0
63 | TPH - 8015 Gas Range Organic (GRO)/Liquid | [5 empty] | 20 |  | 0
64 | TPH - 8015 Gas Range Organic (GRO)/Soil (5) | [5 empty] | 20 |  | 0
65 | TPH - 8015 Diesel Range Organic (DRO)/Liquid | [5 empty] | 20 |  | 0
66 | TPH - 8015 Diesel Range Organic (DRO)/Soil (5) | [5 empty] | 20 |  | 0
67 | Combination TPH - 8015 (GRO) + 8260B (BTEX)/ Liquid | [5 empty] | 20 |  | 0
68 | Combination TPH - 8015 (GRO) + 8260B (BTEX)/Soil (5) | [5 empty] | 20 |  | 0
69 | Combination TPH - 8015 (DRO) + 8260B (BTEX)/Liquid | [5 empty] | 20 |  | 0
70 | Combination TPH - 8015 (DRO) + 8260B (BTEX)/Soil (5) | [5 empty] | 20 |  | 0
71 | EPA Method No. 1666 Purge & Trap (water) (1) (4) | [5 empty] | 40 |  | 0
72 | EPA Method No. 1666 Direct Injection (water) (1) (4) | [5 empty] | 40 |  | 0
73 | EPA Method No. 524.2 (water) (1) | [5 empty] | 40 |  | 0
74 | Phenol (water) (1) |  | D4763 |  |  |  | 40 |  | 0
ESTIMATED TOTAL ANNUAL COST: | [7 empty] | 0
NOTES: | (1) Approved methods for pharmaceutical pollutants pursuant to 40 CFR Part 136 See Attached Table 1F-List of aproved methods for Pharaceutical Pollutants
(2) Please note that proposers/subcontractors/laboratories must be certified to perform the tests listed on Form PW-2.7, Schedule of Prices, Environmental Programs Division only when applicable.
(3) EPA Method 8260 consist of Benzene, Ethylbenzene, Toluene, M,P-xylene, o-xylene and MTBE
(4) Cyclohaxane, Ethyl acetate, Furfural, Isobutyraldehyde, Isopropyl acetate, Isopropyl Ether, Methyl Formate, Methyl isobutyl ketone, n-Amyl acetate, n-Butyl Acetate, n-Heptane,
n-Hexane, Tert-butyl aclcohol, Tetrahydrofuran
(5) analysis includes soil sample prep for Volatiles (5035)
(6) Please note that proposers/subcontractors/laboratories must be certified to perform the tests listed on Form PW-2.7, Schedule of Prices, Environmental Programs Division only when applicable.

## TABLE 1F
Table 1F—List of Approved Methods for Pharmaceutical Pollutants
Pharmaceuticals pollutants | CAS registry No. | Analytical method number
Acetonitrile | 75-05-8 | 1666/1671/D3371/D3695/624.1
n-Amyl acetate | 628-63-7 | 1666/D3695
n-Amyl alcohol | 71-41-0 | 1666/D3695
Benzene | 71-43-2 | D4763/D3695/502.2/524.2/624.1
n-Butyl-acetate | 123-86-4 | 1666/D3695
tert-Butyl alcohol | 75-65-0 | 1666/624.1
Chlorobenzene | 108-90-7 | 502.2/524.2/624.1
Chloroform | 67-66-3 | 502.2/524.2/551/624.1
o-Dichlorobenzene | 95-50-1 | 1625C/502.2/524.2/624.1
1,2-Dichloroethane | 107-06-2 | D3695/502.2/524.2/624.1
Diethylamine | 109-89-7 | 1666/1671
Dimethyl sulfoxide | 67-68-5 | 1666/1671
Ethanol | 64-17-5 | 1666/1671/D3695/624.1
Ethyl acetate | 141-78-6 | 1666/D3695/624.1
n-Heptane | 142-82-5 | 1666/D3695
n-Hexane | 110-54-3 | 1666/D3695
Isobutyraldehyde | 78-84-2 | 1666/1667
Isopropanol | 67-63-0 | 1666/D3695
Isopropyl acetate | 108-21-4 | 1666/D3695
Isopropyl ether | 108-20-3 | 1666/D3695
Methanol | 67-56-1 | 1666/1671/D3695/624.1
Methyl Cellosolve® (2-Methoxy ethanol) | 109-86-4 | 1666/1671
Methylene chloride | 75-09-2 | 502.2/524.2/624.1
Methyl formate | 107-31-3 | 1666
4-Methyl-2-pentanone (MIBK) | 108-10-1 | 1624C/1666/D3695/D4763/524.2/624.1
Phenol | 108-95-2 | D4763
n-Propanol | 71-23-8 | 1666/1671/D3695/624.1
2-Propanone (Acetone) | 67-64-1 | D3695/D4763/524.2/624.1
Tetrahydrofuran | 109-99-9 | 1666/524.2/624.1
Toluene | 108-88-3 | D3695/D4763/502.2/524.2/624.1
Triethlyamine | 121-44-8 | 1666/1671
Xylenes | (Note 1) | 1624C/1666/624.1
Table IF note:
11624C: m-xylene 108-38-3, o,p-xylene, E-14095 (Not a CAS number; this is the number provided in the Environmental Monitoring Methods Index [EMMI] database.); 1666: m,p-xylene 136777-61-2, o-xylene 95-47-6.