COUNTY OF LOS ANGELES

DEPARTMENT OF PUBLIC WORKS

APPLICATION FOR EVALUATION OF PROPRIETARY STORMWATER BMPs

| VENDOR NAME: |  |
| --- | --- |
| PRODUCT NAME: |  |
| MODEL: |  |
| CONTACT PERSON: |  |
| CONTACT PHONE: |  |
| CONTACT EMAIL |  |
| DATE: |  |

This application will be used to determine if your product is acceptable for use within County DPW right of way OR if the product is acceptable for maintenance by DPW.   You do not need to submit this application if your product is to be used on private property and maintained by other than the County of Los Angeles.  If you would like to have your product evaluated by DPW, please mail 4 hard copies of the application and any pertinent backup information to:

Los Angeles County Department of Public Works

Attention: Mr. Bill DePoto

Watershed Management Division

900 South Fremont Avenue

Alhambra, CA 90813

Briefly describe the device in the space below—what it’s supposed to do, along with where and how it does it.  Please include its overall size, footprint, range of treatment flow rates, maximum depth below the street (if applicable), links to any on-line photos or videos, exact locations of existing installations, and any information not specifically requested in the table below that would help us make an informed evaluation of its acceptability.  It is to your advantage to provide as much objective, detailed 3rd-party supporting information as possible, such as maintenance reports from other owners, hydraulic lab test results, or water quality testing by a university.

Include an approximate cost, if applicable, for a product sized to handle the runoff from either:

1)  ¾” of rainfall on 1 acre of retail/commercial property for a storage type BMP; or

2)  a rainfall intensity (I) of 0.2 in/hr falling on 1 acre of retail/commercial property (Q = CIA) for a flow-through type BMP.

Include estimated capital cost, installation cost, and annual maintenance cost for such a design.  If a cost estimate is not applicable or cannot be calculated, please explain why.  Attach extra sheets if necessary, but please do not attach a sales brochure to describe the product.

Also please complete the table on the following pages.  We ask that you attach and label documentation to support your claims, including assembly drawings and parts lists.  Please do not attach sales brochures.  Documentation prepared by independent 3rd parties will be given more importance.  Upon receipt of a completed application and review of the supporting documents, DPW staff will evaluate products for maintainability, structural and hydraulic design, and pollutant removal performance according to the following criteria:

Maintainability

- If a device is designed to operate entirely underground within closed conditions, the device should incorporate confined space amenities in its design according to either CALOSHA or DPW standards.

- If a worker should need to get inside an underground device for maintenance, there should be adequate room to move around.

- The device should have means to block the inlet and outlet so that maintenance could be performed safely in the event of a storm or dam release.  This requirement is important especially if a device is to be used “in-line”, that is, if ALL runoff enters or flows through the device.

- The device should be designed to operate simply enough for an unskilled worker to clean it out as pollutants build up, thus keeping maintenance costs down.  This condition does not include possible repair of the device, which might require more skilled workers.

- The time it takes to maintain or clean out a device will depend on its size and its complexity, but larger devices should not take an inordinate amount of time to clean out.

- The frequency of maintenance will depend on the cleanliness or dirtiness of the area tributary to the device, how effectively the device removes pollution, and how much storage volume is in the device.  The device should not require constant attention, however.

- Devices meant to operate entirely underground should be completely accessible by a vacuum truck hose and within the truck’s depth capabilities.

- The device’s materials should be non-corrosive, non-degrading, or naturally regenerating.  A majority of the parts should be available from a catalog in the event of needed replacement.

- Storm flows can be laden with debris.  The materials used in the device should be robust enough to withstand debris-laden flows, especially if the device is to be used “in-line.”

- Ideally, at least 3 separate owners of the device should be able to vouch for its quality.

- The maintenance or parts manual should clearly show and label all parts and materials, identify sources for replacement parts, explain operation and maintenance procedures and schedules, and be understood by a typical maintenance worker.

Structural and Hydraulic Design

- If the device is to be adjacent to vertical construction, be installed under an area that will handle traffic, or withstand hydraulic or soil loading forces, it should be able to bear the loads.

- The correct analyses should have been used to calculate the loads.

- If applicable, hydraulic losses should have been determined, ideally under controlled field conditions.

- When installed, the device should not cause local flooding nor adversely impact the storm drain system.  This is most important if the device is meant to be retrofitted into an existing storm drain system.

Pollutant Removal Performance

- Because no product can claim to remove all pollutants all the time, the vendor should list the pollutants the device will remove.  Pollutant removal claims must be backed up by test data for each pollutant.  All performance evaluations will be based on these claims.

- When the vendor tests the device for performance, water samples should be collected and analyzed in a way so that objective results could be found.  Ideally, testing should be performed under real world field conditions in Southern California.  Field samples should represent at least 50% of average annual rainfall and total at least 15” of rain, and should collect at least 15 storms.  Samples covering at least 70% of the total storm flow, and from as much of the first 20% of the storm as possible, should be collected by flow-weighted compositing at the device’s inlet and outlet.  Chemical and/or biological analyses of the pollutants listed by the vendor should be conducted by an independent, certified laboratory.

- Once the sampling data have been collected, the statistical analyses of the data should be performed using recognized procedures, such as the Efficiency Ratio method, or the Summation of Loads.  Procedures have been developed by the ASCE, CASQA, and other agencies.

- The concentration of a pollutant leaving the device is more important than the percentage removal of that pollutant, and that discharge concentration should be below the regulatory standard for that pollutant.  Further, those results should be verified by third-party testing.  The percentage of effluent samples that were below the standard should be reported.  If no regulatory standard exists for the pollutant, the average percentage removal of the pollutant should be reported, although this reporting method is less desirable.

- The Department’s SUSMP (post-construction BMP) manual calls for the minimization of trash, oil & grease, and sediment associated with certain types of new development and redevelopment.  If the device can minimize any or all of those pollutants, it is suitable for SUSMP application.

- Pollutants that are removed from the flow stream should be stored in the device in a way that prevents their being re-suspended and carried downstream when the next storm occurs.

- Standing water can breed mosquitoes, enable bacteria growth, and leach nutrients out of collected organic matter; therefore, the device should drain on its own within 96 hours.

At the completion of the evaluation, products will receive a rating of Acceptable, Acceptable with Conditions, or Not Acceptable.  We will explain all ratings of Acceptable with Conditions and Not Acceptable, and you can resubmit your application with appropriate modifications to change your rating.  An Acceptable with Conditions rating means that we may be willing to accept your product under certain conditions and limitations, which will be explained to you.

PRODUCT APPLICATION FORM

| criteria | explanation | COMMENTS |
| --- | --- | --- |
| Maintenance |  |  |
| M1. Confined Space Entry □ Check if device is not to be installed underground | If the device is to be installed underground, describe the confined space standards to which it is designed (e.g. CALOSHA, or County Confined Space Manual). □ Check if documentation attached |  |
| M2. Worker Access □ Check if not applicable | If the device is to be used underground, describe how many workers can comfortably fit inside the device and how much room they would have. □ Check if documentation attached |  |
| M3. Inflow and Tailwater Blocking □ Check if not applicable | Describe how inflow and/or tailwater could be blocked for maintenance. □ Check if documentation attached |  |
| M4. Level of Skill Required for Maintenance □ Check if not applicable | Describe the number of workers required and the level of skill needed to maintain the device. □ Check if documentation attached |  |
| M5. Maintenance Time □ Check if not applicable | Describe the amount of time required to maintain the device and relate it to the device’s size. □ Check if documentation attached |  |
| M6. Maintenance Frequency □ Check if not applicable | Describe how frequently the device needs to be maintained and relate it to the device’s size. □ Check if documentation attached |  |
| M7. Access by Vacuum Truck □ Check if not applicable | Describe the maximum depth below street level and to what extent the device’s underground pipes, conduits, and vaults can be accessed by a vacuum truck. □ Check if documentation attached |  |
| M8. Product Longevity/ Durability □ Check if not applicable | Describe the materials used to fabricate the device. State if any materials are corrosive, degradable, etc. Also state which replacement parts are not available from a catalog. □ Check if documentation attached |  |
| M9. Integrity of Interior Materials □ Check if not applicable | If plastic, fiberglass, or other similar interior materials are used, state if they could shatter or break in the path of direct flow. □ Check if documentation attached |  |
| M10. Track Record | State how long the product has been on the market. Provide contact information of at least 3 other owners/users of the product. State if and why any devices were recalled or replaced. □ Check if documentation attached |  |
| M11. Operation/ Maintenance Manual □ Check if not applicable | Attach a copy or provide the URL link to the operation/ maintenance manual for this specific product. □ Check if manual attached |  |
| Structural Design |  |  |
| D1. Applicable and Critical Loading □ Check if not applicable | Describe how structural loads would be handled, such as adjacent vertical loading, hydrostatic pressure, and traffic loads. □ Check if documentation attached |  |
| D2. Structural Load Calculations □ Check if not applicable | Describe how applicable and critical loads were calculated. □ Check if documentation attached |  |
| D3. Hydraulic Loss Calculation □ Check if not applicable | Describe how the hydraulic losses were calculated, such as in a lab or in the field. □ Check if documentation attached |  |
| D4. Hydraulic Losses □ Check if not applicable | Describe the hydraulic losses. □ Check if documentation attached |  |
| Performance |  |  |
| W1. Treated Pollutants | List the pollutants that the device is designed to deal with. If trash is one of the pollutants, state the minimum sized trash particle the device is designed to remove. □ Check if documentation attached |  |
| W2. Test Sample Collection Protocol □ Check if no testing was performed | State if test sample collection was performed according to a recognized state/federal/ international protocol (e.g. TARP, ETV, WA, WI). Otherwise, describe the method of sample collection (grab or composite), location of sampling (lab or field), % of annual rainfall sampled, total rainfall amount sampled, number of storms sampled, pollutants tested, inflow concentrations, particle size distribution, chemistry lab (independent or vendor), etc. □ Check if documentation attached |  |
| W3. Test Data Analysis □ Check if no testing was performed | State if the analysis of test data was performed according to a recognized state/federal/ international protocol (e.g. Efficiency Ratio method, Summation of Loads, ASCE, CASQA). Otherwise, describe how test data were analyzed. □ Check if documentation attached |  |
| W4. Pollutant Removal □ Check if no testing was performed | Describe the median effluent concentrations for the pollutants of concern. If no effluent concentration data are available, describe the percent removal rate for the pollutants of concern. State if any pollutants of concern increased or other pollutants were introduced. State if the device has been certified “full capture” by the L.A. Regional Water Quality Control Board. □ Check if documentation attached |  |
| W5. Pollutant Resuspension □ Check if no testing was performed | Describe how the device prevents the resuspension of stored pollutants. □ Check if documentation attached |  |
| W6. Self Draining □ Check if not applicable | State if the device will drain completely on its own and, if so, how long it will take to drain. □ Check if documentation attached |  |

BD 7/8/10